## Schedule
CONSTRUCTION OF WATER AND SEWER RETICULATION FOR OKAHANDJA EXTENSION 10, OKAHANDJA, OTJOZONDJUPA REGION
PRELIMINARY AND GENERAL
| Item | Section Refers | Description | Unit | Quantity | Rate | Amount (N$)
159 | 1 | "SANS 1200 A" | SECTION 1: PRELIMINARY AND GENERAL
298 | 1.1 | 8.3 | FIXED-CHARGE ITEMS
300 | 1.1.1 | 8.3.1 | Contractual Requirements | Sum | 1 | 100000 | 100000
302 |  | 8.3.2 | Establishment of facilities on the Site:
304 |  | 8.3.2.1 | Facilities for the Engineer
306 | 1.1.2 |  | Contract Name/Sign Board | No. | 2 | 17000 | 34000
308 | 1.1.3 | 8.3.2.2 | Facilities for the Contractor
310 | 1.1.4 |  | Offices and Storage Sheds | Sum | 1 | 60000 | 60000
312 | 1.1.5 |  | Workshops | Sum
314 | 1.1.6 |  | Ablution and latrine facilities | Sum | 1 | 60000 | 60000
316 | 1.1.7 |  | Water Supplies, electric power and communications | Sum | 1 | 60000 | 60000
318 | 1.1.8 | 8.3.3 | Other fixed-charge obligations | Sum
320 |  | 8.3.4 | Remove Contractor's Site establishment on completion | Sum | 1 | 60000 | 60000
322 | 1.2 | 8.4 | TIME-RELATED ITEMS
324 | 1.2.1 | 8.4.1 | Contractual requirements | Sum | 1 | 50000 | 50000
326 |  | 8.4.2 | Operation and maintenance of Facilities on Site for the duration of Construction
328 |  | 8.4.2.2 | Facilities for Contractor
330 | 1.2.2 |  | Offices and Storage Sheds | Sum | 1 | 50000 | 50000
332 | 1.2.3 |  | Workshops | Sum
334 | 1.2.4 |  | Ablution and latrine facilities | Sum | 1 | 50000 | 50000
336 | 1.2.5 |  | Water Supplies, electric power and communications | Sum | 1 | 60000 | 60000
338 | 1.2.6 | 8.4.5 | Other time-related charge obligations | Sum | 1 | 60000 | 60000
340 | 1.2.7 |  | Contractor's security on site, monthly reimbursement | month | 9 | 7300 | 65700
342 | 1.2.8 | 8.4.3 | Supervision for duration of Construction | Sum | 1 | 60000 | 60000
344 | 1.3 | 8.5 | SUMS STATED PROVISIONALLY BY ENGINEER
345 |  |  | b) 1) For work done by the client or a non-nominated subcontractor
346 | 1.3.1 |  | Allow PC Sum of N$ 10 000.00 for Additional tests ordered by the Engineer | PC sum | 1 | 10000 | 10000
348 |  |  | b) 2) Overheads, charges and profit on items 1.1.17 above
| Total Carried Forward | [5 empty] | 779700
CONSTRUCTION OF WATER AND SEWER RETICULATION FOR OKAHANDJA EXTENSION 10, OKAHANDJA, OTJOZONDJUPA REGION
PRELIMINARY AND GENERAL
| Item | Section Refers | Description | Unit | Quantity | Rate | Amount (N$)
| Brought Forward | [5 empty] | 779700
350 | 1.3.2 |  | Additional tests ordered by the Engineer (item 1.1.17) | % | 5000 | 210 | 10500
371 | 1.4 | 8.8 | TEMPORARY WORKS
373 | 1.4.1 |  | Dealing and Accommodation of Traffic | Sum | 1 | 50000 | 50000
375 |  | 8.8.4 | Existing services
377 | 1.4.2 |  | Temporary protection of services | Sum | 1 | 50000 | 50000
355 | 1.5 | 8.8.5 | Cost of Survey in Terms of the Land Survey Act
356 | 1.5.1 |  | a) Trigonometrical survey and plot boundary pegs - locate and record
357 | 1.5.2 |  | b) Trigonometrical survey and plot boundary pegs - protect and re-establish. Allow provisional sum of N$ 250 000.00 | Sum | 1 | 250000 | 250000
358
360
361
362
363
| Total Carried Forward | [5 empty] | 1140200
CONSTRUCTION OF WATER AND SEWER RETICULATION FOR OKAHANDJA EXTENSION 10, OKAHANDJA, OTJOZONDJUPA REGION
WATER RETICULATION
| Item | Section Refers | Description | Unit | Quantity | Rate | Amount (N$)
398 | 2 |  | SECTION 2: WATER RETICULATION
655 | 2.1 | SANS 1200 DB | EARTHWORKS
657 |  | 8.2.1 | Clear and Grub
658 | 2.1.1 |  | Clear and grub the area designated by the Engineer. The rate shall cover the cost of clearing the surface and removing boulders of size up to 0.15 m3 | ha | 16.1 | 15000 | 241500
660 |  | 8.2.2 | Remove and grub large trees and tree stumps of girth
662 | 2.1.2 |  | a) Over 1 m and up to and inluding 2 m | No.
663 | 2.1.3 |  | b) Over 2 m and up to and inluding 3 m | No.
664 | 2.1.4 |  | a) Over 3 m, in steps of 1 m | No.
666 | 2.1.5 |  | Allow provisional sum of N$ 100 000.00 for removing and grub large trees | PS | 1 | 100000 | 100000
668 |  | SANS 1200 DB | Excavation
670 |  |  | Excavate in all materials for trenches, backfill, compact and dispose of surplus material for uPVC pipes. Price to include removal of all surplus material that can not be used as selected fill material and is to include expenses that may be incurred due to the removal for all of surface and/or sub-surface water in trenches by whatever way considered the most practicable by the contractor
672 |  | 8.3.2(a) | For normal trenches for pipes: 0-200 mm diam. for total trench depth:
674 | 2.1.6 |  | Exceeding 0,5 m but not exceeding 1,3 m | m | 3059.8 | 156.78 | Rate only
676 |  |  | (b) Extra over item (a) above for:
678 | 2.1.7 |  | 1. Intermediate Excavation | m³ | 1033.2 | 600 | 619920
679 | 2.1.8 |  | 2. Hard Rock Excavation | m³ | 1030.8 | 2050 | 2113140
681 | 2.1.9 |  | (c ) Excavate and dipose of unsuitable material from trench bottom (provisional) | m³
683 | 2.1.10 | 8.3.3 | Excavation Ancillaries
685 |  | 8.3.3.1 | Make up deficiancy in backfill material (provisional)
687 | 2.1.11 | 8.3.3.1 (a) | from other necessary excavations on site | m³
| 2.1.12 | 8.3.3.1(b) | by importation from designated borrow pits | m³ | 952.8 | 95 | 90516
688 |  | SANS 1200LB | Bedding (Pipes)
| Total Carried Forward | [5 empty] | 3165076
CONSTRUCTION OF WATER AND SEWER RETICULATION FOR OKAHANDJA EXTENSION 10, OKAHANDJA, OTJOZONDJUPA REGION
WATER RETICULATION
| Item | Section Refers | Description | Unit | Quantity | Rate | Amount (N$)
| Brought Forward | [5 empty] | 3165076
690 |  |  | Provision of Bedding from trench excavations. The rate shall cover the cost of acquiring from within 0.5km bedding, of delivering it to points alongside the trench and of disposing off displaced material within a freehaul distance of 0.5 km
692 | 2.1.13 | 8.2.1 | a) Selected granular material for bedding. | m³ | 320.9 | 80 | 25672
693 | 2.1.14 | 8.2.1 | b) Selected fill material. | m³ | 222 | 80 | 17760
696 | 2.2 | SABS 1200L | PIPES AND SPECIALS FOR WATER RETICULATION
698 |  | 8.2.2.2 | From Borrow pit
500 | 2.1.15 |  | a) Selected granular material | m³ | 320.9 | 105 | 33694.5
501 | 2.1.16 |  | b) Selected fill material | m³ | 222 | 105 | 23310
502 |  |  | Supply, Lay, Joint and Bed uPVC Class 12 Pipes Complete With Couplings. The rate shall cover the cost of provision of pipes complete with couplings, handling, inspecting, transporting, bedding, laying, jointing, cutting, testing and disinfection.
503 | 2.2.1 |  | 90 mm dia uPVC | m | 1528.6 | 183.41 | 280360.53
504 | 2.2.2 |  | 110 mm dia uPVC | m | 1642.5 | 209.95 | 344842.88
506 |  | SABS 1200L | Extra over item 2.5 for supply, joint and test pressure fittings socketed, including all joints and jointing materials and required adaptors
508 |  |  | Cast Iron Equal Tees
509 | 2.2.3 | 8.2.2 | 90 mm Ø SG Iron equal tee | No. | 2 | 934.79 | 1869.58
510 | 2.2.4 |  | 110 mm Ø SG Iron equal tee | No. | 3 | 1169.17 | 3507.51
512 |  |  | Cast Iron Reducing Tee
513 | 2.2.5 |  | 110-90mm Ø Cast Iron Reducing Tee | No. | 9 | 1478.53 | 13306.77
514 |  |  | 160-100mm Ø Cast Iron Reducing Tee | No. | 2 | 2435.96 | 4871.92
516 |  |  | uPVC Class 12 Pressure Bends
517 | 2.2.6 |  | 90 mm Ø x 11.25° | No. | 9 | 374.96 | 3374.64
518 | 2.2.7 |  | 90 mm Ø x 22.5° | No. | 7 | 374.96 | 2624.72
519 | 2.2.8 |  | 90 mm Ø x 45° | No. | 13 | 427.56 | 5558.28
520 | 2.2.8 |  | 90 mm Ø x 90° | No. | 1 | 427.56 | 427.56
521 | 2.2.10 |  | 110 mm Ø x 11.25° | No. | 5 | 451.58 | 2257.9
522 | 2.2.11 |  | 110 mm Ø x 22.5° | No. | 18 | 451.58 | 8128.44
523 | 2.2.12 |  | 110 mm Ø x 45° | No. | 8 | 536.46 | 4291.68
524 | 2.2.13 |  | 110 mm Ø x 90° | No. | 1 | 536.46 | 536.46
| Total Carried Forward | [5 empty] | 3941471.37
CONSTRUCTION OF WATER AND SEWER RETICULATION FOR OKAHANDJA EXTENSION 10, OKAHANDJA, OTJOZONDJUPA REGION
WATER RETICULATION
| Item | Section Refers | Description | Unit | Quantity | Rate | Amount (N$)
| Brought Forward | [5 empty] | 3941471.37
526 |  |  | Cast Iron Hydrant tees
527 | 2.2.14 |  | 90/80 mm Ø | No. | 4 | 1435.5 | 5742
528 | 2.2.15 |  | 110/80 mm Ø | No. | 6 | 1544.9 | 9269.4
531 | 2.2.16 |  | Supply, fit and test right angle pattern instantaneous coupling hydrant valve to be painted red (All) to SABS 1091-1975 including concrete pedestal and all jointing material | No. | 10 | 5800 | 58000
530 |  |  | Valves
533 |  |  | Supply, fit and test ductile iron, non-rising spindle, resilient seal gate valves, class 16, double socketed including all joints and jointing material. For pipe sizes:
534 | 2.2.17 |  | 90 mm dia | No. | 12 | 5297.49 | 63569.88
535 | 2.2.18 |  | 110 mm dia | No. | 13 | 5913.27 | 76872.51
550 | 2.2.19 |  | Construct access to valves as detailed on drawings. The rate to include the supply and installation of TYPE 3B DMC Valve housing or similar approved | No. | 25 | 1046.5 | 26162.5
552 | 2.2.20 |  | Form precast concrete gate valve markers (1:2:4 nom. Mix) as detailed in drawings | No. | 25 | 980 | 24500
554 |  | SANS 1200L | Thrust Blocks
556 |  | 8.2.11 | Concrete Mpa 20 including for:
558 |  |  | For thrust blocks (See drawings)
560 | 2.2.21 |  | 1: Bends & Reducers | No. | 62 | 300 | 18600
562 | 2.2.22 |  | 2: T - Junctions | No. | 14 | 300 | 4200
564 | 2.3 | SANS 1200 LF | HOUSE CONNECTIONS
566 |  | 8.2.2 | Provide erf connections for water supply. The cost shall include the cost of providing pipes, laying the pipes, saddles, ferrules, stop taps, endcaps, excavating, connecting to water main, backfilling, testing and disinfection of pipes (see DWG)
568 |  |  | Connection to Residential Erven
570 | 2.3.1 |  | (a) Type 1: Single & Near Side Connection | No. | 18 | 836.16 | 15050.88
572 | 2.3.2 |  | (b) Type 2: Double & Near Side Connection | No. | 87 | 986.36 | 85813.32
574 | 2.3.3 |  | (c) Type 3: Single & Far Side Connection | No. | 9 | 1232.84 | 11095.56
576 | 2.3.4 |  | (d) Type 4: Double & Far Side Connection | No. | 56 | 1513.15 | 84736.4
| Total Carried Forward | [5 empty] | 4425083.82
CONSTRUCTION OF WATER AND SEWER RETICULATION FOR OKAHANDJA EXTENSION 10, OKAHANDJA, OTJOZONDJUPA REGION
WATER RETICULATION
| Item | Section Refers | Description | Unit | Quantity | Rate | Amount (N$)
| Brought Forward | [5 empty] | 4425083.82
578 | 2.3.5 |  | Provide Y Standard Dropper - House connection markers and 3mm galvanised wire. To be painted Blue as shown on drawings | No. | 309 | 150 | 46350
580 | 2.3.6 |  | Allow Provisional Sum of N$5000.00 for additional fittings | Sum | 1 | 5000 | 5000
581
582
583
584
585
586
587
588
589
590
591
592
593
594
595
596
597
598
400
401
402
403
404
405
406
407
408
409
| Total Carried Forward | [5 empty] | 4476433.82
CONSTRUCTION OF WATER AND SEWER RETICULATION FOR OKAHANDJA EXTENSION 10, OKAHANDJA, OTJOZONDJUPA REGION
SEWER RETICULATION
| Item | Section Refers | Description | Unit | Quantity | Rate | Amount (N$)
699 | 3 |  | SECTION 3. SEWER RETICULATION
700 | 3.1 | SANS 1200DB | EXCAVATION SEWERAGE RETICULATION
701 |  |  | Excavation for Sewerage Reticulation and House Connections
703 |  | 8.3.2 | Excavate in all material for trenches, backfill, compact and dispose of surplus material for. Rate to include removal of all surplus material that cannot be used as selected fill material and is to include all expenses that may be incurred due to the removal of surface and/or sub-surface water in trenches by whatever means considered the most practicable by the Contractor. Rate to include accomodation of traffic and access to properties.
705 |  | 8.3.2 | For normal trenches for 110mm, 160mm, 200mm and 250mm dia. pipeline
707 | 3.1.1 |  | Exceeding 0.0 but not 1.0 m | m | 25.606 | 210.5 | Rate Only
709 | 3.1.2 |  | 1,0 to 2,0 m deep (Exceeding 1.0 but not 2.0 m ) | m | 3921.617 | 220 | Rate Only
900 | 3.1.3 |  | 2,0 to 3,0 m deep (Exceeding 2.0 but not 3.0 m) | m | 815.221 | 270.33 | Rate Only
902 | 3.1.4 |  | 3,0 to 4,0 m deep (Exceeding 3.0 but not 4.0 m) | m | 0 | 350 | Rate Only
904 | 3.1.6 |  | Exceeding 4,0 m | m | 0 |  | Rate Only
906 |  | 8.3.2 | Extra over items 3.1.3 to 3.1.6
907 | 3.1.7 |  | (a) Intermediate excavation Exceeding 0.0 but not 1.0 m | m³ | 1933.997 | 600 | 1160398.2
908 | 3.1.8 |  | (b) Hard rock excavation (Exceeding 1.0 but not 2.5m) | m³ | 2828.447 | 2050 | 5798316.35
910 | 3.2 | 8.3.3 | EXCAVATION ANCILLARIES
912 |  | 8.3.3.1 | Make up deficiancy in backfill material (provisional)
914 | 3.2.1 | 8.3.3.1(a | from other necessary excavations on site | m³
915 | 3.2.2 | 8.3.3.1(b | by importation from designated borrow pits | m³ | 3061.93 | 105 | 321502.65
917 | 3.2.3 | 8.3.3.1(c | by importation from commercial or off-site sources selected by the Contractor | m³
919 | 3.2.4 | 8.3.3.2 | Open up and close down borrow pit | Sum
921 |  | SANS 1200 LB | Provision of Bedding from trench excavation within 0.5km
923 | 3.2.5 | 8.2.1 | Selected granular material for bedding. | m³ | 506.426 | 95 | 48110.47
924 | 3.2.6 | 8.2.1 | Selected fill material. | m³ | 303.663 | 95 | 28847.99
926 |  |  | Supply only of bedding by importation from
927 |  | 8.2.2.1 | a) Other necessary excavations within 0.5 km (Provisional)
916
| Total Carried Forward | [5 empty] | 7357175.66
CONSTRUCTION OF WATER AND SEWER RETICULATION FOR OKAHANDJA EXTENSION 10, OKAHANDJA, OTJOZONDJUPA REGION
SEWER RETICULATION
| Item | Section Refers | Description | Unit | Quantity | Rate | Amount (N$)
| Brought Forward | [5 empty] | 7357175.66
929 | 3.2.7 |  | 1) Selected granular material | m³ | 506.43 | 95 | 48110.85
930 | 3.2.8 |  | 2) Selected fill blanket | m³ | 303.66 | 95 | 28847.7
932 |  | 8.2.2.2 | b) Borrow pits (Provisional)
933 | 3.2.9 |  | 1) Selected granular material | m³
934 | 3.2.10 |  | 2) Selected fill material | m³
935 | 3.3 | SANS 1200 LD | PIPES AND SPECIALS FOR SEWERAGE RETICULATION
937 |  | 8.2.1 | Supply, lay, joint, bed, connect into manholes and test heavy duty, solid wall uPVC Class 34 sewer pipes with coupling material. The rate shall cover the cost of handling, placing and compacting the bedding materials up to the underside of the main fill.
939 | 3.3.1 |  | 200 mm dia pipes | m
940 | 3.3.2 |  | 160 mm dia pipes | m | 3995.5 | 321.08 | 1282875.14 | 1282875.14 | 321.08
941 | 3.3.3 |  | 110 mm dia pipes | m
943 |  | 8.2.2 | "Extra-Over Item 8.2.1 for SpecialsThe rate shall cover the cost of supplying, laying, bedding, jointing and testing each special"
944 | 3.3.4 |  | Plain concrete quality 1:3:6 25 mm stone, in screeds, hunching and encasing to main sewers where ordered by the Engineer. Price to include for all extra excavation and shuttering required. | m³
946 | 3.4 | SANS 1200 LD | MANHOLES FOR SEWERAGE RETICULATION
948 |  |  | Construct 1.2m dia concrete manholes to main sewers. Complete but excluding covers and frames. On completion the manholes shall be watertight and any leaks shall be made good at the contractor's expense. The rate shall cover the cost of dealing with any excavation (in all materials including disposal of suplus) that is additional to that measured under the item for pipe trench excavation and the cost of construction of manholes and all flexible couplings in accordance with the details shown on the drawings.
950 |  |  | Depths indicated below are measured from top of cover to invert of manholes
951 | 3.4.1 |  | a) Below 0.5 m deep | No. | 0
952 | 3.4.2 |  | b) 0.5 - 1.0 m deep | No. | 0
953 | 3.4.3 |  | c) 1.0 - 1.5 m deep | No. | 30 | 9025 | 270750
954 | 3.4.4 |  | d) 1.5 - 2.0 m deep | No. | 68 | 11305 | 768740
945
| Total Carried Forward | [5 empty] | 9756499.35
CONSTRUCTION OF WATER AND SEWER RETICULATION FOR OKAHANDJA EXTENSION 10, OKAHANDJA, OTJOZONDJUPA REGION
SEWER RETICULATION
| Item | Section Refers | Description | Unit | Quantity | Rate | Amount (N$)
| Brought Forward | [5 empty] | 9756499.35
955 | 3.4.5 |  | e) 2.0 - 2.5 m deep | No. | 30 | 12910.5 | 387315
956 | 3.4.6 |  | f) 2.5 - 3.0 m deep | No. | 0 | 15010 | 0
957 | 3.4.7 |  | g) 3.0 - 3.5 m deep | No. | 0 | 14772.5 | 0
958 | 3.4.8 |  | h) Exceeding 3.5 m deep | No. | 0 | 16625 | 0
960 |  |  | Supply and fix cast iron manhole covers and frames
961 | 3.4.9 |  | SecuREX 2-600D Class D-400 | No. | 0 | 4065.18 | 0
962 | 3.4.10 |  | SecuREX Y-560-C Class C250 | No. | 0 |  | 0
963 | 3.4.11 |  | Type 2A DMC Poly manhole covers and frames | No. | 128 | 7426.56 | 950599.68
965 | 3.5 | 8.2.6 | CONNECTIONS TO MAIN SEWER
966 |  |  | Construct standard length of connection for sewers, including excavation, supply, fixing and testing of pipes 110 mm dia and all required fittings with junction on main line and plug stoppers at the end of connection pipes as indicated on drawings.
968 |  |  | Type 1 connection
969 | 3.5.1 |  | a) Near side (0-5m long) | No. | 195 | 680 | 132600
970 | 3.5.2 |  | b) Far side (5-40m long) | No. | 1 | 869 | 869
972 |  |  | Type 2 connection
973 | 3.5.3 |  | a) Near side (0-5m long) | No. | 49 | 680 | 33320
974 | 3.5.4 |  | b) Far side (5-40m long) | No. | 11 | 869 | 9559
976 |  |  | Type 2 connection
977 | 3.5.3 |  | a) Near side (0-5m long) | No. | 24 | 680 | 16320
978 | 3.5.6 |  | b) Far side (5-40m long) | No. | 7 | 869 | 6083
980 |  |  | Type 4 connection
981 | 3.5.7 |  | a) Near side (0-5m long) | No. | 3 | 680 | 2040
982 | 3.5.8 |  | b) Far side (5-40m long) | No. | 19 | 869 | 16511
984 |  |  | Type 5 connection
985 | 3.5.9 |  | a) Near side (0-5m long) | No. | 0 | 680 | 0
986 | 3.5.10 |  | b) Far side (5-40m long) | No. | 0 | 869 | 0
988 | 3.5.9 |  | Supply and install Y-Standard house connection markers including 3mm galvanised wire to be painted green, as indicated on drawings. | No. | 309 | 280 | 86520
990 | 3.6 | 8.2.11 | CONNECT TO EXISTING SEWER AT:
992 | 3.6.1 |  | Break in to existing manhole and make good | No. | 2 | 2500 | 5000
| Total Carried Forward | [5 empty] | 11403236.03
CONSTRUCTION OF WATER AND SEWER RETICULATION FOR OKAHANDJA EXTENSION 10, OKAHANDJA, OTJOZONDJUPA REGION
LIFT STATION
| Item | Section Refers | Description | Unit | Quantity | Rate | Amount (N$)
1000 | 4 |  | SECTION 4: LIFT STATION
1202 | 4.1 |  | LIFT STATION PUMPS
1204 | 4.1.1 |  | Supply, install and commission LOWARA DOMO 7VX 0.55kW 220 PUMPS or similar approved. The rate shall also include training of technical team on operation and maintenance | No. | 2 | 17337.5 | 34675
1206 | 4.1.2 |  | Control Board for 2 pumps 0.55kW, 230V. Including a main incoming supply switch, floats, motor protection breaker with overload & short-circuit protection etc. Lowara QDRM2 Series single-phase panel or similar approved by the Engineer. | No. | 1 | 25193.27 | 25193.27
1208 | 4.1.3 |  | Supply and install 8m DELIVERY PIPE - stainless steel, DN 100.The rate shall also include all bends, pumps supports, pipe bracket supports and all required accessories | Sum | 1 | 35356.25 | 35356.25
1210 | 4.1.4 |  | PRELIMINERY & GENERAL: fixed and time related charges (Mechanical/Pump Specialist) | Sum | 1 | 39540 | 39540
1212 | 4.1.2 |  | LOW VOLTAGE
1214 |  |  | LOW VOLTAGE UNDERGROUND CABLE: PVC/SWA/PVC Cu ARMOURED CABLE
1216 | 4.1.2.1 |  | 35mm2 PVC/SWA/PVC Cu 4C | m | 160 | 445.82 | 71331.2
1218 | 4.1.2.2 |  | 25mm2 BCEW | m | 160 | 110 | 17600
1220 | 4.1.2.3 |  | Cable terminations for 35mm2 cable, including mechanical clamps, lugs and corrosion proof bolts, washers and nuts, glands e.t.c | No. | 1 | 684.17 | 684.17
1222 | 4.1.2.4 |  | Cable Trenche (Excavation, Bedding, Laying, and Backfilling). Excavation in intermediate soil, 0.45 m wide x 0.6 m deep cable trench; backfilling (after bedding) of trench with a proper grading of the material to ensure settling without voids; compaction to 98% Mod AASHTO density in layers not exceeding 150mm thick. | m³ | 43.2 | 682 | 29462.4
1224 | 4.1.2.5 |  | Black cable Sleeves for road crossing: 110mm DIA, PVC class 6 in 6m lengths | m | 2 | 200 | 400
1226 | 4.1.2.6 |  | Warning Tape: Bright yellow warning tape with red or black markings clearly indicating danger, 300mm above electrical cables/sleeves. | m | 160 | 6 | 960
1228 |  |  | PUMP ELECTRICAL INSTALLATIONS
1230 | 4.1.2.7 |  | Metal IP55 Weatherproof Enclosure (800x600x350), Lockable Doors | No. | 1 | 8366.69 | 8366.69
1232 | 4.1.2.8 |  | Plinth for mounting of enslosure for control box | No. | 1 | 3662.82 | 3662.82
1234 | 4.1.2.9 |  | Earthing of enclosure (Earthing spike and earth wire) | No. | 1 | 233.07 | 233.07
1236 | 4.1.2.10 |  | Lock-out Padlock (Weather resistant) | No. | 1 | 750 | 750
1225
| Total Carried Forward | [5 empty] | 268214.87
CONSTRUCTION OF WATER AND SEWER RETICULATION FOR OKAHANDJA EXTENSION 10, OKAHANDJA, OTJOZONDJUPA REGION
LIFT STATION
| Item | Section Refers | Description | Unit | Quantity | Rate | Amount (N$)
| Brought Forward | [5 empty] | 268214.87
1238 | 4.1.2.11 |  | Breaker 20A JSO | No. | 1 | 369.12 | 369.12
1240 | 4.1.2.12 |  | Single Phase kW Meter | No. | 1 | 1200 | 1200
1244 | 4.1.2.13 |  | 4mm2 cable | m | 15 | 68.11 | 1021.65
1246 | 4.1.3 |  | SUMP
1248 |  |  | 110mm SEWER NON RETURN WALVES
1249 | 4.1.3.1 |  | Supply and Install 110mm sewer non return valves as shown in drawings | No. | 1 | 6520.8 | 6520.8
1251 |  |  | RAG CATHCER BASKET
1252 | 4.1.3.2 |  | Fabricate and install a rag cather basket, platform and guide rail mechanism. The rate shall include all components as shown on drawing 2023-03-401C | No. | 1 | 18810 | 18810
1254 |  |  | LIFTING DAVIT
1255 | 4.1.3.4 |  | Fabricate and install liftind davit mechanism as shown on drawings. The rate shall include all componects including the hoisting chains | No. | 1 | 10830 | 10830
1257 |  |  | SUMP MANHOLE COVER
1258 | 4.1.3.5 |  | supply and istall 1800x1800 cheque plate cover. The rate shall include the cost bracings, the covers for the 2 by 600x900 openings, hinges, handles and locking mechanism | No. | 1 | 9165.6 | 9165.6
1260 |  |  | 6 x 600 x 600mm lockable steel plate with handles and hinges | No. | 1 | 7444.2 | 7444.2
1262 |  |  | ADDITIONAL WORK ON SUMP
1263 | 4.1.3.6 |  | Extra works on MH-O1. The rate shall include the cost of excavation for sump depth, reinfocemnt for base, constructing the walls and application of bitumen coating to inner walls on sump | Sum | 1 | 22300 | 22300
1265 | 4.1.4 |  | RISING MAIN
1267 |  | 1200 C | Site Clearance
1269 | 4.1.4.1 | 8.2.1 | Clear and strip over the 3 m wide strip of all vegetation, and other obstacles | m | 80 | 46.5 | 3720
1271 |  | 1200 DB | Excavations
| Total Carried Forward | [5 empty] | 349596.24
CONSTRUCTION OF WATER AND SEWER RETICULATION FOR OKAHANDJA EXTENSION 10, OKAHANDJA, OTJOZONDJUPA REGION
WATER, SEWER , LIFT STATION AND GRAVEL ROADS
LIFT STATION
| Item | Section Refers | Description | Unit | Quantity | Rate | Amount (N$)
| Brought Forward | [5 empty] | 349596.24
1273 |  | 8.1.2 | Excavate in all materials for trenches, backfill selected material, compact and dispose of surplus material for 110mm uPVC pressure pipe.
1275 | 4.1.4.2 |  | For total trench depth: Exceeding 1.0m but not 1.5m | m | 80 | 665 | 53200
1277 |  | 1200LB | Bedding (pipes)
1279 | 4.1.4.3 | 8.2.2 | Supply & fill selected granular material bedding around and on top of pipes from other trench excavations. | m³ | 15.7 | 187.12 | 2937.78
1281 | 4.1.4.4 |  | Supply & fill selected backfill material | m³ | 12.4 | 120 | 1488
1283 | 4.1.4.5 |  | Supply & fill main fill | m³ | 0 | 120 | 0
1285 |  | 1200L | Anchor/Thrust Blocks and Pedestals
1287 | 4.1.4.6 | 8.2.11 | Concrete Mpa 20 including required shuttering for thrust blocks. | m³ | 2.4 | 2183.5 | 5240.4
1289 |  | 1200L | Pipes and Specials for Rising Main
1291 |  |  | Supply, lay, joint, bed, compact selected granular material and test uPVC pressure pipe "Class 12" in trenches, including all joints and jointing materials.
1293 | 4.1.4.7 |  | 110mm dia | m | 80 | 165 | 13200
1295 | 4.1.4.8 |  | Concrete MPa 20, for encasing the Pipes | m³ | 3.6 | 2650 | 9540
1295 | 4.1.4.8 |  | Allow Provisional Sum of N$ 70 000 for fittings and stainless steel pipes | Sum | 1 | 70000 | 70000
1297 | 4.1.4.9 |  | Form precast concrete pipe markers (1:2:4 nom. Mix) as detailed in drawings | No. | 2 | 1489.79 | 2979.58
1299 | 4.1.4.10 |  | Construct access to valves as detailed on drawings. | No. | 1 | 15000 | 15000
| Total Carried Forward | [5 empty] | 523182
CONSTRUCTION OF SERVICES IN OKAHANDJA EXTENSION 10, OTJOZONDJUPA REGION:
WATER, SEWER , LIFT STATION AND GRAVEL ROADS
SUMMARY OF SECTIONS
|  | Section | Description |  |  |  | Amount (N$)
|  | 1 | PRELIMINARY AND GENERAL |  |  |  | 1140200
|  | 2 | WATER RETICULATION |  |  |  | 4476433.82
|  | 3 | SEWER RETICULATION |  |  |  | 11403236.03
|  | 4 | LIFT STATION |  |  |  | 523182
|  |  | SUBTOTAL |  |  |  | 17543051.85
|  | 2 | Add 10% CONTINGENCY |  |  |  | 1754305.19
|  |  | SUBTOTAL |  |  |  | 19297357.04
|  |  | Add 15% VAT |  |  |  | 2894603.56
|  | Total Carried Forward To Summary Of Schedules | Total Carried Forward To Summary Of Schedules |  |  |  | 22191960.6

## Summary Of Schedules
36